IGC Mass Spectrometry Facility

Metabolomics Sample Preparation

Polar Metabolite Extraction from Adherent Cells and Culture Medium

University of Edinburgh  |  Institute of Genetics and Cancer  |  April 2026

Metabolites are extracted using a cold polar solvent mixture (50% methanol, 30% acetonitrile, 20% water) that simultaneously quenches enzyme activity and precipitates proteins. The resulting extract is suitable for LC-MS analysis of polar metabolites including glycolytic intermediates, TCA cycle metabolites, amino acids, and nucleotides.

NOTE Extraction solution (50% MeOH / 30% ACN / 20% H₂O) should be prepared in advance and stored at −20°C. Aim for approximately 80% cell confluence at the point of extraction. All solvents must be LC-MS grade. Discuss solvent sourcing with the facility if needed.

1.  Reagents and Equipment

| Reagent / Item | Detail / Specification |
| --- | --- |
| Extraction solvent | 50% methanol / 30% acetonitrile / 20% water (v/v/v) — LC-MS grade; store at −20°C |
| PBS | Chilled to 1–4°C |
| Wet ice | For on-plate quenching during extraction |
| Thermomixer | 1400 rpm, 0–4°C (for medium extraction) |
| Microcentrifuge | 16,100 x g, 4°C |
| Glass HPLC vials or 96-well plate | For storage and LC-MS submission |

2.  Extraction from Adherent Cells

Process one plate at a time. Speed is important — once removed from the incubator, metabolite levels begin to change. Do not process multiple plates simultaneously.

- Remove the medium (save for medium analysis if required — see Section 3). Very adherent cells: pour all wells at once. Less adherent: aspirate carefully per well. Do not take too long between wells — cells in the first wells may begin to dry before you reach the last.

- Place the plate on wet ice immediately. Wash cells 3 times with chilled PBS (1–4°C). Add PBS gently from the side of the well to avoid detaching cells. Aspirate fully after the final wash.

- Calculate extraction volume: approximately 1–2 × 10⁶ cells/ml extraction solvent. Use the same volume for all samples once validated.

- Add ice-cold extraction solvent gently from the side of the well, keeping the pipette tip close to the cells and nearly horizontal. Do not squirt directly onto cells.

- Place the plate at −20°C for 30 minutes to allow full extraction.

- Transfer the extraction solution from each well to a labelled microcentrifuge tube.

- Centrifuge at 16,100 x g for 10 min at 4°C. Transfer supernatant to new vials. Store at −80°C until LC-MS analysis.

- Retain the cell culture plate for normalisation. Air-dry at room temperature for 1 hour then refrigerate. Protein content can be measured by Lowry assay.

CRITICAL Work at 4°C or on ice throughout. Metabolite levels change within seconds of cells being removed from their normal environment. Any warming accelerates enzymatic activity and alters the metabolite profile. Remove all residual PBS before adding extraction solvent — water in the PBS dilutes the organic content and reduces protein precipitation efficiency. All solvents must be LC-MS grade. Contaminants in lower-grade solvents will suppress ionisation and appear as background peaks.

TIP If your cells are difficult to keep adherent, reduce PBS washes and use extra care during aspiration. It is better to have slightly more PBS carry-over than to lose cells. For experiments with different proliferation rates across conditions, plate cells so that all conditions reach ~80% confluence at the same time point. Small differences in cell number (e.g., 0.8 vs. 1.0 million) are manageable; large differences (e.g., 0.5 vs. 2.0 million) introduce significant normalisation error.

3.  Extraction from Culture Medium

Spent or fresh medium is diluted 50-fold with the same extraction solvent used for cell extraction. This dilution quenches enzymatic activity and precipitates proteins.

- Add 20 μl of medium to 980 μl of ice-cold extraction solvent (taken directly from −20°C) in a microcentrifuge tube. This gives a 50-fold dilution.

- Shake in a Thermomixer at 1400 rpm for 10 minutes at 0–4°C.

- Centrifuge at 16,100 x g for 10 minutes at 0–4°C.

- Transfer supernatant to glass HPLC vials. Store at −75°C until LC-MS analysis.

NOTE The 50-fold dilution factor is optimised for standard cell culture medium (DMEM, RPMI). If your medium contains unusually high metabolite concentrations (e.g., supplemented media), discuss the dilution factor with the facility. Medium samples can be run alongside cell extracts to distinguish intracellular from secreted/consumed metabolites.