RPPA: Host and Tumour Profiling unit, Institute of Genetics & Cancer.

If you are considering using the service:

- The following standard layout options are available:

- 12 samples printed with 3 technical replicates per sample.

- 36 samples printed with 3 technical replicates per sample.

- Standard antibody numbers: 60 – 120 (for more than 120 antibodies please discuss further with HTPU)

- For further technical information, pricing and scheduling of studies contact the Host and Tumour Profiling Unit: rppa@ed.ac.uk

Running RPPA at HTPU, IGC:

- Once you have decided to proceed with a study, contact HTPU for pricing and scheduling of your study. For clients located outwith The University of Edinburgh a Supply of Services Agreement must be signed by both parties.

- Preparation and quantification of protein samples are performed by the client as detailed on the next page.

- Ideally, a minimum of 50 µl per sample should be shipped on dry ice to HTPU at a concentration above 2 mg/ml. Please discuss protein concentrations achieved with us before normalising them.

- Samples should be supplied in 1.5ml tubes that are clearly labelled; a simple numbering system of tubes (1-12/36) is preferred. Results will be labelled with these numbers, however if you would prefer to have results labelled with more detailed sample names these can be provided by e-mail.

- Once the samples have arrived at HTPU and a sample submission form has been received, your study will be scheduled. We would aim to schedule your run and provide results within 4 weeks, or by a mutually agreed date.

- On completion of your study we will provide you with the following files:

- An excel spreadsheet with extracted data from each slide. As well as raw data we will provide Fast-green (total protein stain) normalised data in a graphed format, and global normalised data.

- A guide / report to help you interpret your data.

- The original array images are saved as .tiff files and are available on request.

- Mapix text files containing all the raw data output are also available on request.

Global Normalisation:

A method for adjusting protein expression data across multiple samples by median centering:

- The median is calculated for each antibody across the complete sample set, and each raw linear value is divided by the median within each antibody to give the median centred ratio.

- The median of the median centred ratios for each sample across the entire panel of antibodies is calculated. This median functions as a correction factor for protein loading adjustment. We consider the sample an outlier if the correction factor is above 2.5 or below 0.25.

- Finally, the linear raw data is divided by the correction factor to give the normalised linear value

Recommended Lysis Buffer Preparation:

MD Anderson Lysis buffer is the gold standard buffer for RPPA and is shown below, however many clients use a simple RIPA buffer with Complete mini-EDTA-free protease and Phos-Stop phosphatase inhibitor tablets added.

- Prepare the following 2x buffer solution:

| Reagent | Volume (ml) |
| --- | --- |
| Triton X-100 | 5 |
| 0.5M HEPES pH7.4 | 50 |
| 0.5M EGTA pH7.5-8 | 1 |
| 1M Sodium Chloride | 75 |
| 1M Magnesium Chloride | 0.75 |

Make to 250ml with distilled water. Filter sterilise through a 0.22µM PVDF filter unit and store at 4°C.

- Prepare the following inhibitor stocks:

  - 100mM Sodium Orthovanadate (Na3VO4): Add 0.92g to 40ml water. Adjust to pH10 using HCl. The solution will now be yellow. Boil the solution until it becomes clear. Allow it to cool. Check the pH and adjust again to 10, re-boil until colourless. This step may need to be repeated. Aliquot and store at -20°C.

  - 100mM Tetrasodium Pyrophosphate (TSPP): Add 2.65g to 100ml water, aliquot and store at -20°C.

  - 1M Sodium Fluoride (NaF): Add 4.2g per 100ml water, aliquot and store at -20°C.

- Prepare 1x lysis buffer fresh prior to use:

| Reagent | Volume (ml) |
| --- | --- |
| 2x buffer solution | 5 |
| 100mM Na3VO4 | 0.1 |
| 100mM TSPP | 1 |
| 1M NaF | 1 |
| Complete mini EDTA-free protease inhibitor | 1 tablet |
| Phos-stop phosphatase inhibitor tablet | 1 tablet |
| Glycerol | 1 |
| Distilled Water | 1.9 |

Once prepared keep on ice.

- Brief lysis procedure for cell lines (SOP available on request):

- Wash cells twice with ice cold PBS whilst kept on ice, and remove all excess PBS.

- Add lysis buffer to the cells (suggested volumes are 75-150ul for each well of 6-well plate and 250-400µl for a 10cm dish).

- Scrape cells into 1.5ml tube and incubate on ice for 20 mins (with occasional vortexing).

- Centrifuge at 14,000 rpm (maximum speed) for 10 minutes at 4°C.

- Carefully collect supernatant. Discard the pellet.

- Store protein at -20/-80°C.

- Protein determination (SOP available on request)

- Recommended assay: Coomassie Plus Protein Assay (ThermoFisher Scientific #10741945)

- Ensure lysis buffer is incorporated into the standard curve at the same concentration as in the sample dilutions made for quantification.