Bruker/NanoString nCounter Analysis system: Host and Tumour Profiling unit, Institute of Genetics & Cancer.

If you are considering using the service:

- nCounter codeset panels and Master Kits are sold directly from Bruker/NanoString. Please contact HTPU (nanostring@igc.ed.ac.uk) for account manager contact details. Reagents are purchased directly by the client and shipped by Bruker/NanoString directly to HTPU.

- For further technical advice, pricing & scheduling of studies, and general nCounter advice contact HTPU: nanostring@igc.ed.ac.uk

Running samples on nCounter at HTPU, IGC:

- Once you have decided to proceed with a study, contact HTPU for pricing and scheduling of your study. For clients located outwith The University of Edinburgh a Supply of Services Agreement must be signed by both parties.

- Preparation and quantification of RNA samples are performed by the client. Technical replicates are not always required for gene expression, however biological replicates should be run where possible. Purified RNA sample quality should be evaluated via a spectrophotometer by measuring absorbance at 230nm, 260nm and 280nm. We recommend a 268:280 ratio of 1.9 or greater, and a 260:230 ratio of 1.8 or greater for optimal results. Please contact us with your quantifications and ratios if you have any concerns about your samples.

- A total of 8µl per sample should be shipped on dry ice to HTPU at a defined concentration (i.e. 20 ng/µl for cell line/tissue RNA and 60 ng/µl for FFPE RNA). Samples should be supplied in 1.5ml tubes that are clearly labelled; a simple numbering system of tubes (1-12) is preferred. Results will be labelled with these numbers, however if you would prefer to have results labelled with more detailed sample names these can be provided by e-mail.

Alison Munro

IGC Goods Inwards (Carrington Crescent)

Institute of Genetics & Cancer

University of Edinburgh

Crewe Road South

Edinburgh

EH4 2XR

- Once the samples, CodeSets and Master Kits have arrived at HTPU, and a sample submission form has been received, your study will be scheduled. We would aim to schedule your run and provide results within 4 weeks, or by a mutually agreed date.

- On completion of your study we will provide you with the Reporter Code Count (RCC) files generated by the nCounter Digital Analyzer detailing the number of counts for each target, and the associated Reporter Library File (RLF) containing the information used during image processing to assign target identities to the barcodes.

- Analysis of results is done by the client using nSolver software which can be downloaded from the NanoString website https://www.nanostring.com/products/analysis-software/nsolver