IGC Mass Spectrometry Facility

Proteomics Sample Preparation Guide

University of Edinburgh  |  Institute of Genetics and Cancer  |  April 2026

This guide covers how to prepare samples for the proteomics workflows offered at the IGC Mass Spectrometry Facility. Please read the relevant section carefully before collecting or submitting your samples. If you are unsure which workflow is most appropriate for your experiment, contact us for a free consultation before you start. Getting sample preparation right is the single most important factor in data quality.

NOTE Before submitting samples, please book your project via PPMS and confirm the workflow with the facility. For first-time users, a brief consultation call is strongly recommended. Contact: mass-spec@igc.ed.ac.uk

1.  Expression Proteomics (Bulk)

For discovery and quantitative proteomics from cells, tissues, or biological fluids. We use the PAC (protein aggregation capture) workflow with a strong denaturing lysis buffer, providing excellent coverage and reproducibility.

Lysis Buffer — Prepare Fresh

| Reagent / Component | Concentration / Detail |
| --- | --- |
| SDS | 5% (w/v) |
| Tris-HCl pH 8.5 | 100 mM |
| Chloroacetamide (CAA) | 1 mg/ml (~10 mM) — alkylating agent |
| TCEP | 1.5 mg/ml (~5 mM) — reducing agent |

TIP Prepare lysis buffer on the day of use. CAA is light-sensitive; wrap tube in foil. TCEP and CAA together reduce and alkylate simultaneously — do not add DTT or beta-mercaptoethanol. CAA is hazardous — handle in a fume hood and dispose of as chemical waste.

Protocol

- Pellet cells by centrifugation. Remove all supernatant — residual PBS/media dilutes the buffer.

- Resuspend pellet in PAC lysis buffer. Target a protein concentration of approximately 1 mg/ml in the final lysate. 50 μl is a typical starting volume. We can work will less (down to low microgram, but coverage can suffer)

- Heat at 95°C for 30 minutes with occasional vortexing or shaking. This denatures proteins and inactivates proteases.

- Sonicate to shear genomic DNA. The lysate must be clear and non-viscous before proceeding — viscous samples clog chromatography columns. Use a probe sonicator (3 × 5 s pulses) or a Bioruptor (10 cycles, 30 s on / 30 s off).

- Clarify by centrifugation at 16,000 × g, 10 min, room temperature. Transfer supernatant to a clean tube.

- Measure protein concentration by Bradford or similar assay compatible with SDS and reducing agents (NOT BCA). Submit the clarified lysate.

CRITICAL Do NOT add protease inhibitors — the 95°C heating step inactivates proteases and inhibitors interfere with downstream chemistry. DNA shearing by sonication is essential. Skipping this step will produce viscous samples that block the KingFisher robot and ruin your run. Minimum input: 10 μg total protein. Ideal: 50-100 μg. Please discuss larger or smaller inputs at the consultation stage.

What to Submit

- Clarified lysate in PAC lysis buffer

- Protein concentration (Bradford value)

- Total volume and total protein amount

- Sample labels matching your PPMS submission

2.  Interaction Proteomics — Facility-Performed Pull-Down

We perform the immunoprecipitation or affinity pull-down on our KingFisher Flex robot, providing highly reproducible, low-background results. We handle bead preparation, incubation, washes, and on-bead digestion. You provide the cleared lysate.

Available Affinity Reagents

The facility holds bead-conjugated reagents for the following tags and endogenous targets:

- Anti-FLAG (M2)

- Anti-HA

- Anti-V5

- Anti-Myc

- Anti-GFP

- Streptavidin (for BioID, APEX, and biotin-tagged constructs)

For endogenous IP using a target-specific antibody, you must supply your own validated antibody. Contact us to discuss antibody volume and compatible formats.

Lysate Requirements

| Reagent / Component | Concentration / Detail |
| --- | --- |
| Volume | 500 μl cleared lysate per pull-down |
| Buffer | RIPA or any non-denaturing lysis buffer |
| Protein conc. | 1-5 mg/ml (recommended ~ 6-well to 10 cm plate) |
| Detergent | Up to 1% NP-40, 0.5% Triton X-100, or 0.1% SDS tolerated |
| Supplements | Protease inhibitors acceptable at this stage |

CRITICAL For APEX-BioID etc: remove all free biotin, this can mean extensive washes of the cells and/or dialysis against PBS if residual remains (certain cells retain Biotin). This is the biggest source of failure in these experiments The lysate must be fully cleared by centrifugation at ≥16,000 × g for 15 min at 4°C. Uncleared lysates cause bead aggregation and dramatically increase background. Do not use denaturing conditions (>0.5% SDS, urea, guanidinium). The protein must remain folded to interact with the affinity resin and retain the natural interactions. Flash-freeze aliquots in liquid nitrogen and store at -80°C. Ship on dry ice if not submitting immediately.

What to Submit

- 500 μl cleared lysate per condition (provide additional volume for input/flow-through controls if required)

- Protein concentration

- Lysis buffer composition (including detergent and salt concentrations)

- For endogenous IP: your antibody (discuss volume with us in advance)

3.  Interaction Proteomics — Customer-Performed Pull-Down

If you prefer to perform the pull-down in your own lab (e.g., you have an established protocol or a proprietary antibody), we accept samples at the post-pull-down bead stage. Correct bead transfer and washing at this step is critical to result quality.

After Your Pull-Down: Bead Transfer Protocol

- Complete your standard pull-down and detergent washes as normal.

- Prepare a detergent-free, protease inhibitor-free wash buffer. Use your standard IP buffer but omit all detergents (NP-40, Triton X-100, SDS, etc.) and all protease inhibitors. A simple 50 mM HEPES or PBS (pH 7.4) is ideal.

- Transfer beads to a clean 1.5 ml microcentrifuge tube or a clean 96-well plate using the detergent-free buffer. This removes carry-over detergent that would interfere with mass spectrometry.

- Wash beads twice more with 500 μl detergent-free buffer. Mix gently by pipetting or rotation. Collect beads between washes by magnet (magnetic beads) or gentle centrifugation (see note below).

- After the final wash, remove all residual buffer.

- Snap-freeze the bead pellet in liquid nitrogen and store at -80°C, or submit immediately on ice.

CRITICAL Do NOT submit beads in detergent-containing or protease inhibitor-containing buffer. Even trace amounts of SDS or NP-40 suppress trypsin activity and contaminate the LC column. Protease inhibitors must be removed before submission. They inhibit the on-bead trypsin digestion we perform. Submit beads in a tube, not in solution. Do not elute your proteins with SDS loading buffer unless specifically agreed with the facility.

TIP Non-magnetic beads (Protein A/G Sepharose, NHS-Sepharose) are easily lost during washing. Use wide-bore pipette tips, never vortex, and leave ~10 μl of buffer above the bead pellet between each wash. Centrifuge at 2,000 × g maximum to avoid compacting the beads. If bead loss is a concern during transfer, do the final washes directly in the submission tube rather than transferring again.

4.  Single-Cell Proteomics (FACS-Sorted)

We support ultra-low-input proteomics down to single-cell level using our Bruker timsTOF SCP. Cells are sorted directly into a 384-well plate and digested in-plate using our optimised lysis-digestion buffer. This section describes what you need to do at the sorter.

Plate Preparation (Before Sorting)

Prepare the in-plate digestion solution fresh on the day of sorting:

| Reagent / Component | Concentration / Detail |
| --- | --- |
| TEAB (triethylammonium bicarbonate) | 100 mM |
| CaCl₂ | 1 mM |
| DDM (n-dodecyl-β-D-maltoside) | 0.2% (v/v) |
| Protease Enhancer (Promega) | 0.01% (v/v) |
| Trypsin (mass-spec grade) | 3 ng/μl |

Add 1 μl of this solution to each well of a 384-well PCR plate (non-coated, low-binding, with foil-seal capability).

Sorting

- Sort cells directly into the pre-loaded wells (1 cell per well for single-cell; up to 10-100 cells per well for low-input bulk).

- Immediately after sorting, seal the plate with a foil adhesive seal. Press firmly to ensure a complete seal on every well.

- Spin the plate briefly at 1,000 × g to collect cells into the solution.

- Submit the sealed plate on dry ice, or store at -80°C until submission. Do not freeze-thaw repeatedly.

CRITICAL Sort into a siliconised or low-binding plate. Standard tissue-culture plates cause significant protein adsorption and will reduce your coverage dramatically. Use mass-spectrometry-grade trypsin (e.g., Promega V5111 or equivalent). Sequencing-grade trypsin from other suppliers may work but must be discussed with the facility first. The foil seal is essential. Evaporation of 1 μl reactions during digestion is catastrophic. Check that no wells are unsealed before freezing.

TIP Discuss gating strategy and sort purity with us before your experiment. Contaminating cell types in a single-cell sort are detectable by our CASPA analysis pipeline but will affect interpretation. For novel cell types or unstained cells, consider sorting 10-cell populations first to validate the protocol before committing to single-cell.

5.  Low-Input Proteomics from FACS-Sorted Cell Populations

This workflow covers sorted populations of 1 to several thousand cells — too few for standard bulk proteomics, but more than one cell. It uses the same lysis-digestion chemistry as our single-cell workflow (Section 4), with the volume scaled to cell number. It is ideal for rare populations, sorted sub-types, or experiments where material is genuinely limiting.

Digestion Buffer

Identical composition to the single-cell workflow — prepare fresh on the day of sorting:

| Reagent / Component | Concentration / Detail |
| --- | --- |
| TEAB (triethylammonium bicarbonate) | 100 mM |
| CaCl₂ | 1 mM |
| DDM (n-dodecyl-β-D-maltoside) | 0.2% (v/v) |
| Protease Enhancer (Promega) | 0.01% (v/v) |
| Trypsin (mass-spec grade) | 3 ng/μl |

Volume Scaling by Cell Number

| Cell number | Buffer volume | Notes |
| --- | --- | --- |
| 1 – 10 cells | 1 μl | Single-cell range; matches Section 4 protocol exactly |
| 11 – 300 cells | 2 μl | Low-input bulk; suitable for rare FACS populations |
| ~1,000 cells | 5 μl | Scale linearly: 5 μl per 1,000 cells |
| ~2,000 cells | 10 μl |  |
| ~5,000 cells | 25 μl | Upper range for this workflow; discuss larger inputs with us |

Sorting Requirements

- Use a narrow nozzle (70 μm or smaller) to minimise sort volume and reduce carry-over buffer in each well. Excess sheath fluid dilutes the digestion buffer and reduces efficiency.

- Sort directly into a 384-well low-binding plate pre-loaded with the appropriate buffer volume. This is the preferred format.

- If you must use PCR tubes (0.2 ml strips), be aware that these are very small, difficult to label unambiguously, and easy to mix up in transit. Use a permanent marker on both the cap AND the tube body, and photograph the tube rack before freezing. Discuss with us before committing to this format.

- After sorting, seal the plate with a foil adhesive seal (or cap PCR tubes firmly), spin briefly at 1,000 x g, and freeze immediately at -80C or ship on dry ice.

CRITICAL NEVER add carrier protein (BSA, casein, or any other protein) to the sort buffer or collection buffer. Carrier protein overwhelms the sample and will dominate your mass spectrometry data, masking the biology entirely. Do not add serum, FCS, or any protein-containing medium to the collection wells. Protease inhibitors are not required and should not be added — the buffer contains trypsin, which begins digesting immediately. Keep the plate cold until ready to seal and freeze.

TIP For very rare populations (<50 cells total), sort into multiple wells and pool after lysis rather than a single well — this reduces the risk of losing your entire experiment to one pipetting error. If your sorter requires a sort buffer additive (e.g., low-concentration BSA to prevent nozzle clogging), discuss this with us in advance. We may be able to accommodate very low BSA concentrations with an additional pre-sort wash step.

6.  Spatial Proteomics — FFPE Sections (Deep Visual Proteomics)

Our Deep Visual Proteomics (DVP) workflow combines AI-guided laser microdissection (Leica LMD7) with ultra-sensitive single-cell proteomics. Regions of interest are identified by morphology or fluorescence, laser-cut, and captured directly into a 384-well plate for in-plate digestion.

You provide the FFPE tissue and cut the sections. The facility can advise you in collaboration with the imaging facility and will perform all downstream steps.

Tissue and Section Requirements

- FFPE blocks: standard histology fixation (10% neutral buffered formalin, 24-48 h). Over-fixation (>72 h) reduces peptide recovery.

- Fresh-frozen sections are also accepted — please contact us to discuss cryosection protocol.

- Section thickness: 5-10 μm on PEN membrane slides (Leica or equivalent). We can advise on slide type if needed.

- Sections should be freshly cut (within 1 week) and stored desiccated at room temperature or -20°C.

- H&E staining or immunofluorescence can be performed on serial sections for region annotation.

In-Plate Digestion (Facility-Performed)

For reference, the in-plate extraction and digestion we apply to LMD-captured material:

- LMD-cut section captured into 384-well plate well.

- Add 10 μl acetonitrile (ACN). Vortex (this is step is to ensure sections are in the bottom of the well)

- Dry completely in a SpeedVac concentrator (~15-20 min at 45°C).

- Add 1 μl lysis buffer: 100 mM Tris pH 8.5, 0.1% DDM, 1 mg/ml CAA, 1.5 mg/ml TCEP.

- Seal with foil lid.

TIP Please do not section the block yourself unless you have experience with PEN membrane slides — the membrane must remain intact for LMD to work. We are happy to advise on sectioning. Look at the separate FFPE Protocol Include adjacent sections for H&E annotation so we can identify your regions of interest before cutting.

7.  Advanced Workflows — Contact Us Directly

The following workflows involve more complex sample preparation steps that we tailor individually to each project. Please get in touch before proceeding with any of these:

Cross-Linking Mass Spectrometry (XL-MS)

XL-MS captures protein-protein interaction interfaces and structural information by covalently cross-linking proximal residues before digestion. Cross-linker choice (DSSO, DSBU, BS3, PIR reagents), quenching conditions, and enrichment strategies are highly sample-dependent. We will advise on cross-linker concentration, reaction time, and downstream enrichment.

CellenONE-Based Sorting and Spatial Sample Preparation

Our CellenONE dispenser enables pico-litre precision dispensing for single-cell and spatial proteomics sample preparation. This is used for applications beyond standard FACS sorting, including sorted adherent cells, rare populations, and spatial microsampling from tissue. Protocols are established on a per-project basis.

Histone Preparation and PTM Analysis

Histone proteomics requires a dedicated extraction and chemical derivatisation (propionylation) workflow that differs substantially from standard proteomics. This is essential for accurate quantification of histone H3 and H4 modifications. Contact us for our in-house histone extraction protocol and to discuss derivatisation strategy.

NOTE For all advanced workflows, please email mass-spec@igc.ed.ac.uk with a brief description of your biological question, your model system, and the approximate number of samples. We will schedule a consultation to design the optimal approach.

General Sample Handling Notes

- Always work on ice unless stated otherwise.

- Label all tubes clearly with sample ID, date, and protein concentration. Labels must match your PPMS submission exactly.

- Ship samples on dry ice for overnight delivery. Confirm shipment details with the facility 24 h in advance.

- For questions about any step in this guide, contact us before proceeding — it is much easier to give advice before an experiment than to troubleshoot afterwards.

Contact:  mass-spec@igc.ed.ac.uk  |  PI: Alexander von Kriegsheim  |  institute-genetics-cancer.ed.ac.uk/mass-spectrometry